Kiloscope assembly

---
Ream the hole in the lower subassembly. Insert objective lens into lower subassembly

---
Push lens until bottom faces are flush. Apply 61 cement along the circular interface between components

---
Align lower glass coverslip with lower subassembly
Ensure that coverslip does not hang over the sides of the plastic or you will not be able to seat the device in the head mount.

---
Apply 61 cement along the outside where the components meet

---
Align upper coverslip with subassembly

---
Apply 61 cement along the outside interface

---
Align prism and attach with very small amount of 61 cement

---
Align fiber and attach with 61 cement between fiber face and prism
Secure fiber to body using 63 cement applied to notch

---
Apply nail polish to prism-fiber assembly

---
Ream the hole in the upper assembly being careful not to punch through the top lens stops.
Insert tube lens into upper subassembly

---
Ensure edge of lens assembly is flush with inner lip

---
Apply 63 cement to interface

---
Cut wratten filter from large sheet. Align wratten filter with body

---
Apply 63 cement to corners

---
Align dielectric filter with lens aperture. The coating should face away from the wratten filter. Adhere with 61 cement

---
After installation

---
Align the upper and lower subassemblies

---
Apply 63 cement along the entire length of the interface between subassemblies
Cover fiber-support interface with 5 minute epoxy

---
Align PCB with body

---
After installation

---
Slide focus bracket onto side ledges

---
Assembly complete